**Material List Meeting Notes 12/07/21**

**2A HR Racks**

Fittings

* Add expansion fittings to BOM Area C

Straps

* Caddy 4Z34812M per homerun box

Boxes and Hardware

* Add ¼” all thread nuts and washers
* ¼ Hilti anchors
* 2 nuts per HR box
* Per rack: 4 nuts and 4 square washers
* Large boxes: 4 corners. 2 washers and 2 nuts per corner.
* 4 Hilti ¼” anchors per box.

**3B Misc OH**

Conduit

* Add bat wings
* Caddy Snip ons
* Mineralac straps

Fittings

* Expansion fittings

Hardware

* Anchor